## Sheet1
S.No. | MEter Name | Meter S.No. | PT Ratio | CT Ratio | METER ID | VOLTAGE | [5 empty] | CURRENT | [5 empty] | POWER |  |  |  | ENERGY
[6 empty] | VAL. AT ADD.30001 (VR) | ACT. VAL: VR*PT RATIO | VAL. AT ADD.30003 (VY) | ACT. VAL: VY*PT RATIO | VAL. AT ADD.30005 (VB) | ACT. VAL: VB*PT RATIO | VAL.AT ADD.30007 (IR) | ACT. VAL: IR*CT RATIO | VAL. AT ADD.30009 (IY) | ACT. VAL: IY*CT RATIO | VAL. AT ADD.30011 (IB) | ACT. VAL: IC*CT RATIO | VAL. AT ADD.30037 (MW) | ACT. VAL: MW*0.0001 | VAL. AT ADD.30039 (MVAR) | ACT. VAL: MVAR*0.0001 | VAL.AT ADD.30515 (KWH) | ACT. VAL: KWH*0.01
1 | GT1 MAIN | 15461840 | 2000 | 800 | 1 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
2 | GT1 CHECK | 12287959 | 2000 | 800 | 2 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
3 | GT2 MAIN | 15461851 | 2000 | 800 | 3 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
4 | GT2 CHECK | 12287957 | 2000 | 800 | 4 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
5 | GT3 MAIN | 15461843 | 2000 | 800 | 5 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
6 | GT3 CHECK | 12287962 | 2000 | 800 | 6 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
7 | GT4 MAIN | 15461844 | 2000 | 800 | 7 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
8 | GT4 CHECK | 12287966 | 2000 | 800 | 8 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
9 | GT5 MAIN | 15461842 | 2000 | 800 | 9 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
10 | GT5 CHECK | 12287958 | 2000 | 800 | 10 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
11 | GT6 MAIN | 15461841 | 2000 | 800 | 11 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
12 | GT6 CHECK | 12287956 | 2000 | 800 | 12 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
13 | ST1 MAIN | 15461891 | 2000 | 100 | 13 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
14 | ST1 CHECK | 12287960 | 2000 | 800 | 14 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
15 | ST2 MAIN | 15461892 | 2000 | 100 | 15 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
16 | ST2 CHECK | 12287961 | 2000 | 800 | 16 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
17 | ST3 MAIN | 15461895 | 2000 | 100 | 17 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
18 | ST3 CHECK | 12287964 | 2000 | 800 | 18 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
19 | ST4 MAIN | 15461894 | 2000 | 100 | 19 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
20 | ST4 CHECK | 12287965 | 2000 | 800 | 20 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
21 | ST5 MAIN | 15461893 | 2000 | 100 | 21 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
22 | ST5 CHECK | 12287963 | 2000 | 800 | 22 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
23 | ST6 MAIN | 12287976 | 2000 | 200 | 23 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
24 | ST6 CHECK | 12287967 | 2000 | 800 | 24 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
25 | PTR HV MAIN | APE-20119 | 2000 | 800 | 25 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0
26 | PTR HV CHECK | 12287955 | 2000 | 800 | 26 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0 |  | 0